## Slide 1: Detecting Tremor in Parkinson’s Disease using Multiple Instance Learning on Kinetic Data Collected from Wearable Device
Jiayi Han s164229
10/2/2022
Technical University of Denmark
Paragit Solutions
Supervisors
Sadasivan Puthusserypady
Silvia Tolu

## Slide 2: Presentation outline
Introduction
Background
Data
Methodology
Results
Discussion
Future perspectives
Conclusion
Limitations

## Slide 3: Introduction – Paragit Solutions
Startup company working with Parkinson’s Disease monitoring
The sleeve measures gyroscope, accelerometer and sEMG
The current algorithm for symptom detection is based on static thresholds

## Slide 4: Introduction – Project Motivation
The Motivation
  Current diagnosis is subjective and inaccurate
  Wearable devices collect objective data
  Ease the burden of the PD-subjects and increase the diagnostic accuracy
  Data based method, Continuous monitoring
The aim: Build and test tremor detection algorithm
The challenges
  The wild data
  The labelling

## Slide 5
Progressive neurological disorder
MDS-UPDRS rating scale is the current golden standard
The current way of diagnosis is subjective and has inter-rater and intra-rater variability
This project focuses on the tremor from the upper extremity
  Involuntary and rhythmic contraction
  Frequency between 3-7 Hz
Intro - Parkinson’s Disease

## Slide 6: Data – Overview
Originally the plan is to use Paragit Solutions’ data
Delays & labels
Online data sources
Habets et al.
  Accelerometer, gyroscope and wildness
  14 days
  20 participants
  Smartwatch
  Smartphone

## Slide 7: Data– Questionaires

## Slide 8: Data - Content

## Slide 9: Data - Paragit Solutions
Approximately 24 Hours of recording
For testing the model

## Slide 10: Methodology - Multiple Instance learning
General description
Our case
Negative bag
Positive bag
Multiple instance learning
A bag is considered positive if there’s one or more positive instances

## Slide 11: Methodology – Attention Based Multiple Instance Learning
Proposed by Ilse et al. Attention-based Deep Multiple Instance Learning (2018)
Implemented for tremor detection by Papadopoulous et al. (2020)

## Slide 12: Results - General

## Slide 13: Results - Related study
  [2] Detecting Parkinsonian Tremor from IMU Data Collected In-The-Wild using Deep Multiple-Instance Learning (2020)​
The most suitable method were the Multiple Instance Learning method proposed by Papadopoulous et al.
Signal processing experts: 2 experts annotating raw accelerometer signals
UPDRS 16: Subject’s self report about tremor
UPDRS 20: Physician’s score for hand tremor at rest
 | Signal processing experts | UPDRS16 | UPDRS20
F1-score | 0.897 +/- 0.015 | 0.615 +/- 0.011 | 0.706 +/- 0.003

## Slide 14: Results- Confusion matrix

## Slide 15: Results - Raw-model
True positive
False positive

## Slide 16: Results - Raw-model
True negative
False negative

## Slide 17: Results – Freq-Model
True positive
False positive
[0.34 ]
[0.667]
[5]
[1. and 4.67]

## Slide 18: Results – Freq-Model
True negative
False negative
[0.6667]
[0.6667]
[0.6667]
[6.333]

## Slide 19: Results – Subject specific
Examples of the Raw-model’s performance according to subject ID.

## Slide 20: Results – Subject specific
Examples of the Freq-model’s performance according to subject ID.

## Slide 21: Results – Paragit Solutions’

## Slide 22: Results – Paragit Solutions’

## Slide 23: Results - Compare

## Slide 24: Results – Paragit Solutions’ (Raw-Model)
True positive
True negative

## Slide 25: Results – Paragit Solutions’ (Raw-Model)
False positive
False negative

## Slide 26: Results – Paragit Solutions’ (Freq-Model)
True positive
True negative
[0.333]
[4.333]
[0.667]
[6.]

## Slide 27: Results – Paragit Solutions’ (Freq-Model)
False positive
False negative
[4.667]
[0.667]

## Slide 28: Results – Paragit Solutions’

## Slide 29: Discussion #1 imbalance
Data imbalance could have caused the high number of predictions in the positive class
Preventative actions could be
  Data augmentation or downsample the positive samples

## Slide 30: Discussion # 2 Noise within the data
Tremor alike episodes
Wrist band not corretly tighten
Natually repetitative behavior (brushing teeth)
Many questions confuses the participants
One label accounts for both sides

## Slide 31
Discussion #2 Overfitting

## Slide 32: Discussion #3 Small data set
Validating the actual performance
Limited amount of test samples
Imbalanced data from participants
Habets et al. 60 samples from 16 people
  The representativeness of the scales varies
Paragit Solutions 85 samples from one person

## Slide 33: Future perspectives
The data collection protocal should be design such
  The data can be validated (Trade-off method between clinical and wild data)
  The description can not be misleading
  Require large participant egagement
  Designed to collect data with clear purpose (preferably one symptom at once – reduce the risk of mislabelling)
  Increase label precision
Larger data set
  Many participants
  Different ranges of severity
Run a validation study with pre-trained model
  Real time processing

## Slide 34: Conclusion
Current algorithm is not able to used for clinical predictions for PD-tremor
F1-score of 0.657 with raw data input and 0.694 with frequency input.
Simliar results as UPDRS16 results from Papadopoulous et al. (0.615 +/- 0.011)
The raw model is performing the best on Paragit’s data
Currently it is not able to conclude which model is best for generalization

## Slide 35: Limitations of the study
The data | The model
The design purpose of the data The amount of the data The diversity within the data The labelling Unable to do one-sided predictions / detection of symmetry of symptoms | Optimization protocals Many parameters The time limitation of training Overfitting